## Value Analysis
User Inputs |  | Value Analysis
Baseline Energy Consumption | 912000 | Lease Period Energy Savings | 487191.2358
Modeled Energy Reduction | 310445 | Adjusted Incremental First Cost | -171000
Total Area, Tenant Space | 95000 | Adjusted Payback Period | 3.6232
Lease Period | 10 | Net Present Value (NPV) | 158223.4019
Utility Base Rate | 0.15 | Return on Investment | 92.53%
Utility Escalation Rate | 1% | Internal Rate of Return (IRR) | 25%
Incremental First Cost of EPMs | -210900
Energy Efficiency Incentives | 39900
Discount Rate | 7%

## EPMs
Energy Performance Measure | Annual Energy Use Reduction |  |  | Annual Energy Cost Savings | Incremental First Cost | Simple Payback
Envelope | 31464 | kWh | 3.45% | 4720 | -21850 | 4.6292
Lighting | 65117 | kWh | 7.14% | 9768 | -47500 | 4.8628
Equipment | 37757 | kWh | 4.14% | 5664 | -24700 | 4.3609
Heating | 58915 | kWh | 6.46% | 8837 | -43700 | 4.9451
Cooling | 98496 | kWh | 10.8% | 14774 | -59850 | 4.051
Ventilation | 18696 | kWh | 2.05% | 2804 | -13300 | 4.7432

## Payback Calc
Year | Cash Flow | Balance | Payback
0 | -171000 | -171000
1 | 46566.75 | -124433.25
2 | 47032.4175 | -77400.8325
3 | 47502.7417 | -29898.0908
4 | 47977.7691 | 18079.6783 | 3.6232
5 | 48457.5468 | 66537.225
6 | 48942.1223 | 115479.3473
7 | 49431.5435 | 164910.8908
8 | 49925.8589 | 214836.7497
9 | 50425.1175 | 265261.8672
10 | 50929.3687 | 316191.2358